## MDM_J619884_FK (hidden)
dbo.tags.active
NULL
FALSE
TRUE

## Selectie
place | installation | device | klantnummer | eng_unit | timezone | type | unit_type | last_modified_date_time | active | collection_interval_minutes | Description
WVL | GEM | QIT120_MEETW_EGU | NULL | NULL | UTC | NULL | NULL | 2023-11-15 17:55 | TRUE | 120 | pH
WVL | GEM | QIT121_MEETW_EGU | NULL | NULL | UTC | NULL | NULL | 2023-11-15 17:55 | TRUE | 120 | Conductiviteit (Conductivity)
WVL | GEM | QIT122_MEETW_EGU | NULL | NULL | UTC | NULL | NULL | 2023-11-15 17:55 | TRUE | 120 | Temp (temperature)
WVL | GEM | QIT123_MEETW_EGU | NULL | NULL | UTC | NULL | NULL | 2023-11-15 17:55 | TRUE | 120 | Zuurstof (Oxygen)
WVL | GEM | QIT124_MEETW_EGU | NULL | NULL | UTC | NULL | NULL | 2023-11-15 17:55 | TRUE | 120 | Turbiditeit (Turbidity)
WVL | GEM | QIT127_MEETW_EGU | NULL | NULL | UTC | NULL | NULL | 2023-11-15 17:55 | TRUE | 120 | Nitraat (Nitrate)
WVL | GEM | QIT128_MEETW_EGU | NULL | NULL | UTC | NULL | NULL | 2023-11-15 17:55 | TRUE | 120 | Chlorofyl A (Chlorophyll A)
WVL | GEM | QIT129_MEETW_EGU | NULL | NULL | UTC | NULL | NULL | 2023-11-15 17:55 | TRUE | 120 | phycocyanine (Blauwgroen algen) (phycocyanin (Blue-green algae))
WVL | GEM | QIT130_MEETW_EGU | NULL | NULL | UTC | NULL | NULL | 2023-11-15 17:55 | TRUE | 120 | TOC
WVL | GEM | QIT131_MEETW_EGU | NULL | NULL | UTC | NULL | NULL | 2023-11-15 17:55 | TRUE | 120 | UV254 (SAC) (SAC (Spectral Absorption Coefficient))
WVL | GEM | QIT134_MEETW_EGU | NULL | NULL | UTC | NULL | NULL | 2023-11-15 17:55 | TRUE | 120 | Patroon alarm (Pattern alarm)
WVL | GEM | QIT135_MEETW_EGU | NULL | NULL | UTC | NULL | NULL | 2023-11-15 17:55 | TRUE | 120 | Spectraal alarm (Spectral alarm)
WVL | GEM | TIT123_MEETW_EGU | NULL | NULL | UTC | NULL | NULL | 2023-11-15 17:55 | TRUE | 120 | Temeratuur
BEV | GEM | QIT120_MEETW_EGU | NULL | NTU | UTC | NULL | NULL | 2023-11-15 17:51 | TRUE | 120 | pH
BEV | GEM | QIT121_MEETW_EGU | NULL | NTU | UTC | NULL | NULL | 2023-11-15 17:51 | TRUE | 120 | Conductiviteit Conductivity
BEV | GEM | QIT122_MEETW_EGU | NULL | NTU | UTC | NULL | NULL | 2023-11-15 17:51 | TRUE | 120 | Temp
BEV | GEM | QIT123_MEETW_EGU | NULL | NTU | UTC | NULL | NULL | 2023-11-15 17:51 | TRUE | 120 | Zuurstof Oxygen
BEV | GEM | QIT124_MEETW_EGU | NULL | NTU | UTC | NULL | NULL | 2023-11-15 17:51 | TRUE | 120 | Turbiditeit Turbidity
BEV | GEM | QIT127_MEETW_EGU | NULL | NTU | UTC | NULL | NULL | 2023-11-15 17:51 | TRUE | 120 | Nitraat Nitrate
BEV | GEM | QIT128_MEETW_EGU | NULL | NTU | UTC | NULL | NULL | 2023-11-15 17:51 | TRUE | 120 | Chlorofyl A Chlorophyll A
BEV | GEM | QIT129_MEETW_EGU | NULL | NTU | UTC | NULL | NULL | 2023-11-15 17:51 | TRUE | 120 | phycocyanine (Blauwgroen algen) Phycocyanin (Blue-green algae)
BEV | GEM | QIT130_MEETW_EGU | NULL | NTU | UTC | NULL | NULL | 2023-11-15 17:51 | TRUE | 120 | TOC
BEV | GEM | QIT131_MEETW_EGU | NULL | NTU | UTC | NULL | NULL | 2023-11-15 17:51 | TRUE | 120 | UV254 (SAC)
BEV | GEM | QIT134_MEETW_EGU | NULL | NTU | UTC | NULL | NULL | 2023-11-15 17:51 | TRUE | 120 | Patroon alarm Pattern alarm
BEV | GEM | QIT135_MEETW_EGU | NULL | NTU | UTC | NULL | NULL | 2023-11-15 17:51 | TRUE | 120 | Spectraal alarm Spectral alarm
BEV | GEM | LT140_MEETW_EGU | NULL | mTAW | UTC | NULL | NULL | 2023-11-15 17:51 | TRUE | 120 | Niveau water level
SPE | GEM | LIT208_MEETW_EGU | NULL | mTAW | UTC | NULL | NULL | 2023-11-15 17:52 | TRUE | 120 | Niveau Spaarbekken Eekhoven Level Storage Basin Eekhoven
SPE | GEM | QIT120_MEETW_EGU | NULL | °C | UTC | NULL | NULL | 2023-11-15 17:52 | TRUE | 120 | Temp
SPE | GEM | QIT121_MEETW_EGU | NULL | µS/m | UTC | NULL | NULL | 2023-11-15 17:52 | TRUE | 120 | Conductiviteit
SPE | GEM | QIT122_MEETW_EGU | NULL | m | UTC | NULL | NULL | 2023-11-15 17:52 | TRUE | 120 | Niveau kanaal water level in a canal
SPE | GEM | QIT124_MEETW_EGU | NULL | RFU | UTC | NULL | NULL | 2023-11-15 17:52 | TRUE | 120 | Chlorofyl A
SPE | GEM | QIT125_MEETW_EGU | NULL | RFU | UTC | NULL | NULL | 2023-11-15 17:52 | TRUE | 120 | phycocyanine (Blauwgroen algen)
SPE | GEM | V215_STA_VIS | NULL | NULL | UTC | klep | NULL | 2023-11-15 17:52 | TRUE | 120 | Klep van spaarbekken Eekhoven
SPE | GEM | V217_STA_VIS | NULL | NULL | UTC | klep | NULL | 2023-11-15 17:52 | TRUE | 120 | Klep van omloopleiding
SPE | GEM | V225_STA_VIS | NULL | NULL | UTC | klep | NULL | 2023-11-15 17:52 | TRUE | 120 | Klep van spaarbekken Eekhoven
SPE | GEM | V227_STA_VIS | NULL | NULL | UTC | klep | NULL | 2023-11-15 17:52 | TRUE | 120 | Klep van omloopleiding
FLT | GEM | FIT515_MEETW_EGU | NULL | m3/h | UTC | NULL | NULL | 2023-11-15 17:53 | TRUE | 120 | Debiet influent oneven kant flow rate of incoming water on the odd-numbered side
FLT | GEM | FIT525_MEETW_EGU | NULL | m3/h | UTC | NULL | NULL | 2023-11-15 17:53 | TRUE | 120 | Debiet influent even kant
FLT | GEM | QIT542_MEETW_EGU | NULL | pH | UTC | NULL | NULL | 2023-11-15 17:53 | TRUE | 120 | Turbiditeit influent even the turbidity measurement of the incoming water on the even-numbered side
Note on A1: String (max length: 20)
Note on B1: String (max length: 20)
Note on C1: String (max length: 100)
Note on D1: String (max length: 20)
Note on E1: String (max length: 20)
Note on F1: String (max length: 40)
Note on G1: String (max length: 20)
Note on H1: String (max length: 20)
Note on I1: DateTime
Note on J1: Boolean
Note on K1: Int32
Note on L1: String (max length: 500)